Texture and composition of garnet as a guide to contamination of granitoid plutons: An example from the Governor Lake area, Meguma terrane, Nova Scotia

K.L.Scallion, R.A. Jamieson, S.M. Barr, C.E. White, and S.Erdmann

APPENDIX: Electron-microprobe analytical methods and data

METHODS:

Analyses were performed using the JEOL JXA-8200 Superprobe housed in the Robert M. MacKay Laboratory of the Dalhousie Regional Electron Microprobe Facility.

For quantitative (spot) analyses, the following conditions were used (all X-ray lines Kα):

Accelerating voltage	15 kV

Beam current		20 nA

Beam diameter		1 μm

Peak count time		20 s

Background count time	10 s

Standards:	K - Sanidine

Cr - Cr-metal

Na - Jadeite

Al - Garnet12442

Mn - Pyrolusite

Ca - Kanganui Kaersutite

Ti - Kanganui Kaersutite

Mg - Kanganui Kaersutite

Si - Garnet12442

Fe - Garnet12442

V - V-metal

For secondary X-ray mapping (Ca, Mn, Mg, Fe), the following conditions were used (all X-ray lines Kα):

Accelerating voltage	15 kV

Beam current 		100 nA

Beam diameter		3 μm

Dwell time		15 ms (in a few cases, 20 ms used)

Average dimensions	500 pixels x 500 pixels (up to 800 pixels in a few cases)

Pixel diameter		5 μm (some 2 μm with 1 μm beam diameter)

DATA:

The following tables list garnet compositions obtained in this study.

Types 1 through 4 are described in the text.

Locations: TL = Twin Lakes granodiorite; TON = Bog Island Lake tonalite boulders; BIL = Bog Island Lake tonalite outcrops; BB = Beaverbank formation; HG = Halifax group

End members and Fe3+ calculated using the method of Knowles (1987).