## Sheet1
APPENDIX 3B: FULL DETAILS OF ANALYTICAL SET-UP FOR EPMA ANALYSIS; ELEMENTS ANALYZED, PEAK/BACKGROUND POSITIONS, COUNT TIMES, STANDARDS, ELEMENTAL OVERLAP CORRECTIONS USED IN REE MINERAL PACKAGE.
Element and Line | Diffracting Crystal (Sp#) | Background type/fit | kV/nA | Peak Count Time | Bkgd Count Times |  | # bkgd points acquired (Lo/Hi) | Standards1 |  |  |  | Overplaping element and order with their overlap correction standard
[5 empty] | Lo | Hi |  | Primary standards | Secondary standards 1 | Secondary standards 2 | Interference standards | Interfering line | Int std | Interfering line | Int std | Interfering line | Int std | Interfering line | Int std | Interfering line | Int std | Interfering line | Int std
Cu Ka | LLIF (3) | Shared | 15/20 | 20 | 10 | 10 | 1/3 | 556 |  |  |  | Tm I | 815 | Tb I | 814 | Er I | 805
Ho Lb | LLIF (3) | Shared | 15/100 | 40 | 10 | 10 | 4/8 | 1109 | 808 |  |  | Y II | 816 | Yb I | 817 | Sm I | 635 | Eu I | 806 | Th II | 629
Yb La | LLIF (3) | Shared | 15/100 | 40 | 10 | 10 | 4/12 | 1112 | 817 |  |  | Y II | 816 | Ho I | 808 | Dy I | 804 | Tb I | 814
Tm La | LLIF (3) | Shared | 15/100 | 40 | 10 | 10 | 7/12 | 1111 | 815 |  |  | Dy I | 804 | Sm I | 635
Er La | LLIF (3) | Shared | 15/100 | 40 | 10 | 10 | 5/8 | 1110 | 805 |  |  | Tb I | 814
Gd Lb | LLIF (3) | Shared | 15/100 | 40 | 10 | 10 | 7/8 | 634 | 1106 |  |  | U II | 631 | Ho I | 808
Dy La | LLIF (3) | Shared | 15/100 | 40 | 10 | 10 | 8/6 | 1108 | 804 |  |  | Th II | 629 | Eu I | 806 | Pb II | 627 | Yb I | 817
Fe Ka | LLIF (3) | Shared | 15/20 | 20 | 10 | 10 | 8/6 | 502 |  |  |  | Th II | 629
Tb La | LLIF (3) | Shared | 15/100 | 40 | 10 | 10 | 8/6 | 1107 | 814 |  |  | Pb II | 627 | Pr I | 637 | Sm I | 635
Sm Lb | LLIF (3) | Shared | 15/100 | 40 | 10 | 10 | 12/9 | 635 | 1104 |  |  | Tb I | 814 | Nd I | 636
Mn Ka | LLIF (3) | Shared | 15/20 | 20 | 10 | 10 | 12/6 | 557 |  |  |  | As II | 562
Eu La | LLIF (3) | Shared | 15/100 | 40 | 10 | 10 | 3/6 | 1105 | 806 |  |  | Pr I | 637 | Nd I | 636
Nd Lb | LLIF (3) | Shared | 15/100 | 40 | 10 | 10 | 4/3 | 636 | 1103 |  |  | U II | 631
Pr Lb | LLIF (3) | Shared | 15/100 | 40 | 10 | 10 | 4/1 | 637 | 1102 |  |  | U III | 631
Ce La | PET (1) | Linear | 15/100 | 20 | 40 | 40 | 1/1 | 633 | 1101 |  |  | Y III | 816 | Yb II | 817 | Tm II | 815
La La | PET (1) | Linear | 15/100 | 20 | 40 | 40 | 1/1 | 632 | 1100 |  |  | Nd I | 636 | Tm II | 815
Ti Ka | PET (1) | Multipoint | 15/20 | 30 | 20 | 20 | 2/2 | 559 |  |  |  | U III | 631
Ba La | PET (1) | Multipoint | 15/100 | 20 | 20 | 20 | 1/2 | 554 |  |  | 816 | Ti I | 559 | U III | 631 | Pr I | 637
Te La | PET (1) | Multipoint | 15/100 | 20 | 20 | 20 | 2/2 | 560 |  |  |  | Sm II | 635 | U I | 631
Ca Ka | PET (1) | Multipoint | 15/20 | 20 | 20 | 20 | 2/2 | 535 |  |  |  | Y IV | 816 | Yb II | 817 | Th III | 629 | Dy II | 804 | Tb II | 814
U Mb | LPET (1) | Multipoint | 15/100 | 60 | 20 | 20 | 2/2 | 631 |  |  |  | K I | 541 | Th I | 629 | Ho II | 808 | Gd II | 634
K Ka | LPET (1) | Multipoint | 15/20 | 20 | 20 | 20 | 2/2 | 541 |  |  |  | U I | 631
Th Ma | LPET (5) | Linear | 15/100 | 60 | 40 | 40 | 1/1 | 629 |  |  |  | Gd II | 634 | Y V | 816
Cl Ka | LPET (5) | Linear | 15/20 | 15 | 40 | 40 | 1/2 | 545 |  |  |  | Ce II | 633 | Nd II | 636 | Er III | 805 | Ho III | 808
Pb Mb | LPET (5) | Multipoint | 15/100 | 100 | 30 | 30 | 3/2 | 627 | 520 |  |  | U I | 631 | S I | 530 | Ce II | 633 | Y VI | 638
S Ka | LPET (5) | Multipoint | 15/20 | 20 | 20 | 20 | 1/2 | 513 |  |  |  | Nd II | 636 | La II | 632
Nb La | LPET (5) | Multipoint | 15/100 | 20 | 10 | 20 | 1/2 | 616 |  |  |  | Mn III | 557
Zr La | LPET (5) | Multipoint | 15/100 | 30 | 20 | 20 | 2/1 | 599 |  |  |  | Nd III | 636 | P I | 740 | Tb IV | 814
P Ka | LPET (5) | Multipoint | 15/20 | 15 | 20 | 20 | 2/2 | 504 |  |  |  | Ca II | 558 | Cu IV | 556 | Tm IV | 815 | Gd III | 1106 | Ce III | 1101
Y La | LPET (5) | Multipoint | 15/100 | 40 | 20 | 20 | 2/2 | 628 | 1115 | 638 |  | La III | 632 | Ho IV | 808
F Ka | PC0 (2) | Multipoint | 15/20 | 20 | 40 | 40 | 4/4 | 2001 | 2002 |  |  | Sm VIII | 635 | Ce VII | 633 | P III | 740 | Y III | 638 | La VIII | 632 | U V | 631
Sr La | TAP (4) | Multipoint | 15/100 | 30 | 20 | 20 | 1/3 | 513 |  |  |  | Y I | 816 | U II | 631
Si Ka | TAP (4) | Multipoint | 15/20 | 40 | 20 | 20 | 1/2 | 501 |  |  |  | Y I | 638 | Tb IV | 814 | Nd III | 636 | Er IV | 805
Al Ka | TAP (4) | Multipoint | 15/20 | 20 | 20 | 20 | 2/2 | 501 |  |  | 740 | Ti III | 559 | Yb I | 817 | Ho I | 808
As La | TAP (4) | Multipoint | 15/100 | 40 | 20 | 20 | 1/2 | 562 |  |  | 558 | Sm I | 635 | Nd IV | 636
Mg Ka | TAP (4) | Multipoint | 15/20 | 30 | 20 | 20 | 1/2 | 502 |  |  |  | U II | 631
Na Ka | TAP (4) | Multipoint | 15/20 | 20 | 20 | 20 | 2/2 | 501 |  |  |  | U III | 631
V Ka | LPET (5) | Linear | 15/100 | 40 | 10 | 10 | 1/1 | 608
W La | LPET (5) | Linear | 15/100 | 40 | 10 | 10 | 1/1 | 596 | 739
Sc Ka | LPET (5) | Linear | 15/100 | 40 | 10 | 10 | 1/1 | 619 | 1116 |  |  | Ca I | 535
Ta La | LPET (5) | Linear | 15/100 | 40 | 10 | 10 | 1/1 | 601
Bi Ma | LPET (5) | Linear | 15/100 | 40 | 10 | 10 | 1/1 | 568 |  |  |  | Ce II | 1101
1 See Full Standard List (Appendix 3A) for standard number references