## Olivine
Table A: WDS configuration used in this study for olivine.
Element | Crystal | Line | Standard | Counting time | Detection limit
|  |  |  | (peak/background) | [µg/g]
[s]
Si | TAP | Ka | Mg-rich Olivine | 16/8 | 160
Al | TAP | Ka | Al2O3 | 30/15 | 50
Fe | LIF | Ka | Mg-rich Olivine | 16/8 | 140
Mn | LIFH | Ka | Rhodonite | 30/15 | 90
Mg | TAP | Ka | Mg-rich Olivine | 16/8 | 70
Ni | LIFH | Ka | Ni | 30/15 | 70
Ca | PETH | Ka | Diopside | 60/30 | 30
Acceleration voltage: 20 kV
Beam current: 20 nA
Correction method: φρz
Probe Diameter: focused

## Clinopyroxene
Table B: WDS configuration used in this study for clinopyroxene.
Element | Crystal | Line | Standard | Counting time | Detection limit
|  |  |  | (peak/background) | [µg/g]
[s]
Si | TAP | Ka | Diopside | 16/8 | 240
Ti | PETH | Ka | SrTiO3 | 16/8 | 115
Zr | PETH | La | ZrO2 | 30/15 | 165
Al | TAP | Ka | Al2O3 | 16/8 | 120
Cr | LIFH | Ka | Cr | 16/8 | 150
Fe | LIF | Ka | Hematite | 16/8 | 250
Mn | PETJ | Ka | Rhodonite | 30/15 | 190
Mg | TAP | Ka | Diopside | 16/8 | 115
Ca | PETJ | Ka | Diopside | 16/8 | 135
Na | TAP | Ka | Albite | 30/15 | 85
K | PETJ | Ka | Sanidine | 16/8 | 105
Acceleration voltage: 15 kV
Beam current: 20 nA
Correction method: φρz
Probe Diameter: focused

## Spinel group minerals
Table C: WDS configuration used in this study for spinel group minerals.
Element | Crystal | Line | Standard | Counting time | Detection limit
|  |  |  | (peak/background) | [µg/g]
[s]
Si | TAP | Ka | Diopside | 16/8 | 110
Ti | PETJ | Ka | SrTiO3 | 16/8 | 140
Al | TAP | Ka | Al2O3 | 16/8 | 100
V | LIFH | Ka | V | 16/8 | 120
Cr | PETJ | Ka | Cr | 30/15 | 120
Fe | LIFH | Ka | Hematite | 16/8 | 180
Mn | LIFH | Ka | Bustamite | 30/15 | 100
Mg | TAP | Ka | Periclase | 16/8 | 120
Ni | LIFH | Ka | Ni | 16/8 | 120
Zn | LIFH | Ka | Zn | 16/8 | 160
Acceleration voltage: 20 kV
Beam current: 20 nA
Correction method: ZAF
Probe Diameter: focused
Overlap corrections: V-Ti, V-Cr

## Amphibole+Mica
Table D: WDS configuration used in this study for amphibole and mica.
Element | Crystal | Line | Standard | Counting time | Detection limit
|  |  |  | (peak/background) | [µg/g]
[s]
Si | TAP | Ka | Diopside | 16/8 | 240
Ti | PETH | Ka | SrTiO3 | 16/8 | 120
Zr | PETH | La | ZrO2 | 30/15 | 180
Al | TAP | Ka | Al2O3 | 16/8 | 125
Cr | PETJ | Ka | Cr | 16/8 | 160
Fe | LIF | Ka | Hematite | 16/8 | 250
Mn | PETJ | Ka | Rhodonite | 30/15 | 195
Mg | TAP | Ka | Diopside | 16/8 | 120
Ba | PETH | Ka | Barite | 16/8 | 215
Ca | PETJ | Ka | Diopside | 16/8 | 130
Na | TAP | Ka | Albite | 30/15 | 90
K | PETJ | Ka | Sanidine | 16/8 | 105
F | LDE1 | Ka | Topas_Utah | 30/15 | 295
Cl | PETH | Ka | Tugtupite | 30/15 | 45
Acceleration voltage: 15 kV
Beam current: 20 nA
Correction method: φρz
Probe Diameter: 2 µm
Overlap corrections: Ti-Ba, Ba-Ti, Al-Ba, F-Fe

## Garnet+Perovskite+Titanite
Table E: WDS configuration used in this study for garnet, perovskite and titanite.
Element | Crystal | Line | Standard | Counting time | Detection limit
|  |  |  | (peak/background) | [µg/g]
[s]
Si | TAP | Ka | Diopside | 16/8 | 300
Ti | PETJ | Ka | SrTiO3 | 16/8 | 150
Zr | PETJ | La | ZrO2 | 16/8 | 600
Al | TAP | Ka | Al2O3 | 16/8 | 140
Fe | LIFH | Ka | Hematite | 16/8 | 150
Mn | PETJ | Ka | Bustamite | 16/8 | 170
Mg | TaP | Ka | Diopside | 16/8 | 200
Ca | PETJ | Ka | Diopside | 16/8 | 110
Na | TAP | Ka | Albite | 30/15 | 150
Nb | PETJ | La | LiNb2O6 | 16/8 | 600
Ta | LIFH | La | LiTa2O6 | 16/8 | 500
Sr | PETJ | La | SrTiO3 | 16/8 | 800
La | LIFH | La | La glass | 16/8 | 450
Ce | LIFH | La | Ce glass | 16/8 | 350
Pr | LIFH | La | Pr glass | 16/8 | 400
Nd | PETJ | Lb | Nd glass | 30/15 | 500
Sm | LIFH | La | Sm glass | 16/8 | 350
Y | PETJ | La | YAG | 30/15 | 600
Th | PETJ | Ma | ThO2 | 60/30 | 500
F | LDE1 | Ka | Topas_Utah | 30/15 | 650
Cl | PETH | Ka | Tugtupite | 30/15 | 110
Acceleration voltage: 20 kV
Beam current: 20 nA
Correction method: ZAF
Probe Diameter: 2 µm
Overlap corrections: Sm-Ce, Pr-La