## Table A2
Table S2. Analytical accuracies and limits of detections for laser ablation ICP-MS major/trace element concentration maps, based on the analysis of NIST610 standard and comparison with accepted values. The limits of detections are given in ppm for the elemental forms of the analytes (K not K2O) whereas the accuracies are given for the oxide forms of the analytes when the analytes are indicated as oxides (K2O not K; Ti not TiO2).
Map | Figure # | Object | Analyte | Li | B2O3 | Na2O | MgO | Al2O3 | SiO2 | P | K2O | CaO | Ti | V | Cr | Mn | Fe | Ni | Cu | As | Zr | Nb | Dy | Au
|  |  | Isotope | 7 | 11 | 23 | 25 | 27 | 29 | 31 | 39 | 42 | 47 | 51 | 53 | 55 | 57 | 60 | 65 | 75 | 90 | 93 | 163 | 197
|  |  | NIST610 (ppm) | 468 | 1127 | 134000 | 716 | 19500 | 697000 | 413 | 559 | 114000 | 452 | 450 | 408 | 444 | 458 | 459 | 441 | 325 | 448 | 465 | 437 | 24
Replacement style barren | 3, A5 | LOD |  | 154 | 112 | 312 | 175 | 56 | 4504 | 1786 | 98 | 3539 | 31 | 3.9 | 51 | 18 | 738 | 33 | 12 | 32 | 1.8 | 0.66 | 2.3 | 2.3
|  | Accuracy | Line 5 | 0.87 | 0.87 | 0.84 | 1.03 | 0.91 | 1.07 | 2.42 | 0.77 | 0.97 | 1.01 | 0.9 | 0.93 | 0.94 | 1.23 | 0.9 | 0.87 | 0.78 | 1.12 | 1.01 | 1.09 | 1.08
|  | Accuracy | Line 30 | 0.88 | 0.82 | 0.85 | 1.06 | 0.87 | 1.06 | 4.36 | 0.8 | 1.01 | 1.05 | 0.92 | 0.94 | 0.95 | 1.25 | 0.9 | 0.88 | 0.77 | 1.01 | 1.02 | 1 | 1.05
|  | Accuracy | Line 55 | 0.87 | 0.88 | 0.83 | 1.04 | 0.88 | 1.07 | 2.15 | 0.81 | 1 | 1.05 | 0.9 | 0.94 | 0.95 | 1.24 | 0.9 | 0.88 | 0.78 | 1.07 | 1.02 | 1.07 | 0.97
|  | Accuracy | Line 80 | 0.87 | 0.85 | 0.85 | 1.03 | 0.87 | 1.07 | 2.24 | 0.79 | 0.98 | 1.05 | 0.88 | 0.94 | 0.97 | 1.2 | 0.92 | 0.9 | 0.81 | 1.08 | 1.02 | 1.08 | 1.02
|  | Accuracy | Line 105 | 0.83 | 0.84 | 0.82 | 1.01 | 0.85 | 1.08 | 2.27 | 0.79 | 0.97 | 1.01 | 0.88 | 0.9 | 0.93 | 1.18 | 0.89 | 0.87 | 0.83 | 1.08 | 1 | 1.08 | 0.99
|  | Accuracy | Average | 0.864 | 0.852 | 0.838 | 1.034 | 0.876 | 1.07 | 2.688 | 0.792 | 0.986 | 1.034 | 0.896 | 0.93 | 0.948 | 1.22 | 0.902 | 0.88 | 0.794 | 1.072 | 1.014 | 1.064 | 1.022
Replacement style mineralized | 4, A6 | LOD |  | 108 | 81 | 233 | 130 | 43 | 3195 | 930 | 73 | 2590 | 22 | 2.9 | 40 | 14 | 520 | 25 | 8.6 | 182 | 1.5 | 0.49 | 2.2 | 2.2
|  | Accuracy | Line 5 | 0.96 | 0.88 | 0.95 | 1.09 | 0.92 | 1.05 | 4.62 | 0.96 | 1.02 | 1.05 | 0.97 | 1.02 | 1.01 | 1.27 | 0.96 | 0.95 | 0.85 | 1.07 | 1.03 | 1.08 | 1.1
|  | Accuracy | Line 30 | 0.96 | 0.88 | 0.95 | 1.11 | 0.91 | 1.05 | 2.09 | 0.95 | 0.99 | 1.05 | 0.95 | 1.05 | 1.04 | 1.37 | 0.97 | 0.96 | 0.86 | 1.03 | 1.03 | 1.03 | 1.18
|  | Accuracy | Line 55 | 0.94 | 0.87 | 0.93 | 1.07 | 0.91 | 1.06 | 1.85 | 0.93 | 1 | 1.05 | 0.95 | 1.02 | 1.02 | 1.27 | 0.98 | 0.96 | 0.86 | 1.04 | 1.01 | 1.03 | 1.17
|  | Accuracy | Line 80 | 0.95 | 0.87 | 0.91 | 1.11 | 0.94 | 1.05 | 2.78 | 0.89 | 1.04 | 1.07 | 0.96 | 0.99 | 1.03 | 1.09 | 0.97 | 0.95 | 0.88 | 1.07 | 1.01 | 1.09 | 1.17
|  | Accuracy | Average | 0.9525 | 0.875 | 0.935 | 1.095 | 0.92 | 1.0525 | 2.835 | 0.9325 | 1.0125 | 1.055 | 0.9575 | 1.02 | 1.025 | 1.25 | 0.97 | 0.955 | 0.8625 | 1.0525 | 1.02 | 1.0575 | 1.155
Vein style barren | 5, A7 | LOD |  | 84 | 87 | 256 | 94 | 35 | 3738 | 1452 | 86 | 3100 | 21 | 2.2 | 36 | 12 | 440 | 19 | 6.7 | 54 | 1.3 | 0.49 | 1.6 | 1.5
|  | Accuracy | Line 5 | 0.96 | 0.91 | 0.93 | 1.11 | 0.91 | 1.05 | 2.23 | 0.99 | 1.02 | 1.06 | 0.99 | 1.02 | 1.01 | 1.35 | 0.97 | 1 | 1.02 | 1.06 | 1.04 | 1.06 | 1
|  | Accuracy | Line 30 | 1.05 | 0.92 | 0.99 | 1.18 | 0.93 | 1.03 | 3.76 | 1.06 | 1.06 | 1.07 | 1.03 | 1.11 | 1.07 | 1.25 | 1.01 | 1.03 | 1.13 | 1.08 | 1.04 | 1.09 | 0.96
|  | Accuracy | Line 55 | 1.03 | 0.94 | 0.97 | 1.12 | 0.92 | 1.04 | 3.25 | 1.04 | 1.04 | 1.06 | 1 | 1.11 | 1.05 | 1.27 | 0.99 | 1.05 | 1.08 | 1.05 | 1.01 | 1.07 | 0.98
|  | Accuracy | Line 80 | 1.1 | 0.93 | 1.04 | 1.14 | 0.95 | 1.02 | 2 | 1.09 | 1.06 | 1.09 | 1.02 | 1.13 | 1.06 | 1.27 | 1.04 | 1.03 | 0.99 | 1.05 | 1.01 | 1.06 | 1.02
|  | Accuracy | Line 105 | 1.08 | 0.92 | 1.02 | 1.18 | 0.94 | 1.03 | 2.18 | 1.1 | 1.05 | 1.07 | 1.02 | 1.1 | 1.07 | 1.25 | 1.02 | 1.03 | 0.94 | 1.05 | 1.02 | 1.05 | 0.98
|  | Accuracy | Average | 1.044 | 0.924 | 0.99 | 1.146 | 0.93 | 1.034 | 2.684 | 1.056 | 1.046 | 1.07 | 1.012 | 1.094 | 1.052 | 1.278 | 1.006 | 1.028 | 1.032 | 1.058 | 1.024 | 1.066 | 0.988
Vein style mineralized | 6, A8 | LOD |  | 86 | 103 | 312 | 118 | 42 | 4393 | 1688 | 104 | 3697 | 24 | 2.8 | 41 | 14 | 556 | 22 | 9.6 | 49 | 1.4 | 0.51 | 1.8 | 2.3
|  | Accuracy | Line 5 | 0.97 | 0.83 | 0.97 | 1.07 | 0.88 | 1.05 | 1.87 | 0.97 | 0.97 | 1.01 | 0.93 | 1.03 | 1 | 1.4 | 0.96 | 1.02 | 0.87 | 1.01 | 0.99 | 1.01 | 0.92
|  | Accuracy | Line 30 | 1 | 0.91 | 0.94 | 1.1 | 0.89 | 1.05 | 2.18 | 0.99 | 0.98 | 1.01 | 0.94 | 1.01 | 1.01 | 1.27 | 0.97 | 1.01 | 0.84 | 1 | 1.01 | 1.01 | 0.98
|  | Accuracy | Line 55 | 0.99 | 0.9 | 0.96 | 1.1 | 0.9 | 1.05 | 1.78 | 0.99 | 1 | 1.07 | 0.97 | 1.01 | 1.02 | 1.25 | 0.97 | 1.02 | 0.82 | 1.01 | 1.02 | 1.01 | 1
|  | Accuracy | Line 80 | 0.98 | 0.87 | 0.96 | 1.09 | 0.88 | 1.05 | 1.84 | 1 | 0.99 | 0.99 | 0.95 | 1 | 1.01 | 1.19 | 0.97 | 1.01 | 0.82 | 0.99 | 0.98 | 0.98 | 0.91
|  | Accuracy | Line 105 | 1.02 | 0.91 | 1.01 | 1.11 | 0.85 | 1.04 | 2.67 | 1.01 | 0.96 | 1.04 | 0.97 | 1.05 | 1.03 | 1.2 | 1.03 | 1.02 | 0.84 | 0.96 | 0.97 | 0.95 | 1.09
|  | Accuracy | Average | 0.992 | 0.884 | 0.968 | 1.094 | 0.88 | 1.048 | 2.068 | 0.992 | 0.98 | 1.024 | 0.952 | 1.02 | 1.014 | 1.262 | 0.98 | 1.016 | 0.838 | 0.994 | 0.994 | 0.992 | 0.98